## EUA_CLIA Waived_Point of Care
Manufacturer | Test Name | Test Type | Specimen types
Cepheid | Xpert Xpress SARS-CoV-2 test | Molecular | •nasopharyngeal •oropharyngeal •nasal •mid-turbinate nasal •nasal wash/aspirate
Cue Health Inc. | Cue COVID-19 Test | Molecular | •nasal
Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19 | Molecular | •nasal •throat •nasopharyngeal
Mesa Biotech Inc. | Accula SARS-Cov-2 Test | Molecular | •nasal
Becton, Dickinson and Company (BD) | BD Veritor System for Rapid Detection of SARS-CoV-2 | Antigen | •nasal
Quidel Corporation | Sofia SARS Antigen FIA | Antigen | •nasopharyngeal •nasal
LumiraDx UK Ltd. | LumiraDx SARS-CoV-2 Ag Test | Antigen | •nasal
Abbott Diagnostics Scarborough, Inc. | BinaxNOW COVID-19 Ag Card | Antigen | •nasal
Roche Molecular Systems, Inc. | cobas SARS-CoV-2 & Influenza A/B Nucleic Acid Test for use on the cobas Liat System | Molecular - multi-analyte | •nasopharyngeal •nasal •observed self-collected nasal
Cepheid | Xpert Xpress SARS-CoV-2/Flu/RSV | Molecular - multi-analyte | •nasopharyngeal •nasal •nasal wash/ aspirate

## Home Collection Kits
Manufacturer | Test Name | Test Type | Specimen types | Laboratory Performing Tests | IFU/EUA Summary
Ethos Laboratories | Ethos Laboratories SARS-CoV-2 MALDI-TOF Assay | Molecular | •nasal | Ethos Laboratory
Clinical Reference Laboratory, Inc. | CRL Rapid Response | Molecular | •saliva | Clinical Reference Laboratory
Quest Diagnostics Infectious Disease, Inc. | Quest Diagnostics PF SARS-CoV-2 Assay | Molecular | •nasal | laboratories designated by Quest Diagnostics (Quest Diagnostics Infectious Disease, Inc.)
Quest Diagnostics Infectious Disease, Inc. | Quest Diagnostics RC SARS-CoV-2 Assay | Molecular | •nasal | laboratories designated by Quest Diagnostics (Quest Diagnostics Infectious Disease, Inc.)
Quest Diagnostics Infectious Disease, Inc. | Quest Diagnostics HA SARS-CoV-2 Assay | Molecular | •nasal | laboratories designated by Quest Diagnostics (Quest Diagnostics Infectious Disease, Inc.)
Compass Laboratory Services, LLC | Compass Laboratory Services SARS-CoV2 Assay | Molecular | •nasal | Compass Laboratory Services, LLC
The Kroger Co. | Kroger Health COVID-19 Test Home Collection Kit | Molecular | •nasal | laboratories designated by The Kroger Co. (Gravity Diagnostics, LLC)
Kaiser Permanente Mid-Atlantic States | KPMAS COVID-19 Test | Molecular | •nasal | KPMAS Regional Laboratory
Phosphorus Diagnostics LLC | Phosphorus COVID-19 RT-qPCR Test | Molecular | •saliva | Phosphorus Diagnostics LLC
PrivaPath Diagnostics, Inc. | LetsGetChecked Coronavirus (COVID-19) Test | Molecular | •nasal | PrivaPath Labs d.b.a. LGC Labs
Exact Sciences Laboratories | SARS-CoV-2 (N gene detection) Test | Molecular | •nasal | Exact Sciences Laboratories
P23 Labs, LLC. | P23 Labs TaqPath SARS-CoV-2 Assay | Molecular | •saliva •nasal (Everlywell) | P23 Labs, LLC
Color Genomics, Inc. | Color SARS Cov-2 Diagnostic Assay | Molecular | •nasal | laboratories designated by Color Genomics Inc. on an IVD molecular test indicated for use with the Color COVID-19 Self-Swab Collection Kit.
Fulgent Therapeutics, LLC | Fulgent COVID-19 by RT-PCR Test | Molecular | •nasal | Fulgent Genetics’ laboratory
Everlywell, Inc. | Everlywell COVID-19 Test Home Collection Kit | Molecular | •nasal | laboratories designated by Everlywell, Inc. (Gravity Diagnostics, LLC; Compass Laboratory Services, LLC; Exact Sciences Laboratories; Fulgent Genetics’ laboratory; P23 Labs, LLC)
Assurance Scientific Laboratories | Assurance SARS-CoV-2 Panel | Molecular | •nasal | laboratories designated by Assurance Scientific Laboratories (Assurance Scientific Laboratories)
Rutgers Clinical Genomics Laboratory at RUCDR Infinite Biologics - Rutgers University | Rutgers Clinical Genomics Laboratory TaqPath SARS-CoV-2-Assay | Molecular | •saliva | Rutgers Clinical Genomics Laboratory (RCGL) at RUCDR Infinite Biologics – Rutgers University
Quest Diagnostics Infectious Disease, Inc. | Quest SARS-CoV-2 rRT-PCR | Molecular | •nasal | laboratories designated by Quest Diagnostics (Quest Diagnostics Infectious Disease, Inc.)
Laboratory Corporation of America (LabCorp) | COVID-19 RT-PCR Test | Molecular | •nasal | laboratories designated by LabCorp (Laboratory Corporation of America)
QDx Pathology Services | QDX SARS-CoV-2 Assay | Molecular | •nasal | QDx Pathology Services
DxTerity Diagnostics, Inc. | DxTerity SARS-CoV-2 RT PCR CE Test | Molecular | •saliva | DxTerity Diagnostics, Inc.
Color Genomics, Inc. | Color COVID-19 Self-Swab Collection Kit | Molecular | •nasal | laboratories designated by Color Genomics Inc. on an IVD molecular test indicated for use with the Color COVID-19 Self-Swab Collection Kit.
Infinity BiologiX LLC | Infinity BiologiX TaqPath SARS-CoV-2 Assay | Molecular | •saliva | Infinity BiologiX LLC

## EUA_Molecular High Complex Test
Category | Manufacturer | Test Name | Extraction needs | Throughput | PCR enzyme | Instrumentation | Limit of detection (LOD) Note ul = 1/1000 ml | Gene targets | Internal Control? | Specimen types | Sample Volume Input | PCR Run Time | Swabs Required? | VTM Required?
Automated high throughput | Hologic Inc. | Panther Fusion SARS-CoV-2 | All in one system | 335 specimens/8 hr •samples can be added continuously | Included | Panther fusion | 0.010 TCID50/mL | ORF1ab-1, ORF1ab-2 | IC-S | •nasopharyngeal •oropharyngeal | 500uL | 3 hr | Yes | Yes
Automated high throughput | Roche Molecular Systems Inc. | Cobas SARS-CoV-2 | All in one system | 384/960 specimens/8 hr | Included | Cobas Omni 6800/8800 | 0.009 TCID50/mL | ORF1, E | Internal Control | •nasopharyngeal •oropharyngeal •nasal | 600uL | 3.5 hr | Yes | Yes
Automated high throughput | Abbott Molecular | Abbott RealTime SARS-CoV-2 assay) M2000/M200RT | All in one system | 282 specimens/8 hr | Included | M2000/M200RT | 100 cp/mL | RdRp, N | hydroxypyruvate reductase gene of Cucurbita pepo | •nasopharyngeal •oropharyngeal •nasal | 500uL | 3 hr | Yes | Yes
Automated high throughput | NeuMoDx Molecular, Inc. | NeuMoDx SARS-CoV-2 Assay | All in one system | 96 - 288 samples •samples can be added continuously | Included | •NeuMoDxTM 288 •NeuMoDxTM 96 | 150 cp/mL | Nsp2, N | Internal Control | •nasopharyngeal •oropharyngeal •nasal •mid-turbinate nasal | ≥ 500 - ≥ 1000 μL | 80 min | Yes | Yes
Automated medium throughput | Becton, Dickinson & Company | BD BioGx SARS-CoV-2 Reagents for BD MAX System | All in one system | 24 samples | Included | BD Max |  | N1, N2 (CDC P/P) |  | •nasopharyngeal •oropharyngeal
Rapid | Cepheid | Xpert Xpress SARS-CoV-2 test | All in one system | 1 to 80 tests (depends on size of instrument) | Included | GeneXpert | 250 cp/mL | N2, E | SPC PCC | •nasopharyngeal •nasal •mid-turbinate nasal | 300uL | 45 min | Yes | Yes
Rapid | BioFire Defence LLC | BioFire COVID-19 Test | All in one system | 1-12 samples/instrument | Included | FilmArray® 2.0/Torch | 330 cp/mL | ORF1ab-a, ORF1ab-b, ORF8 | Internal control | •nasopharyngeal | 300uL | 50 min | Yes | Yes
Rapid | DiaSorin Molecular LLC | Simplexa™ COVID-19 Direct Assay | All in one system | 8 wells | Included | LIAISON® MDX | 500 cp/ml | S, ORF1ab | Internal Control | •nasopharyngeal | 50uL | <1 hour | Yes | Yes
Rapid | Qiagen GmbH | QIAGEN QIAstat-Dx Respiratory SARS-CoV-2 Panel Assay | All in one system | 1-4 tests | Included | QIAstat-Dx Analyzer | 500 cp/mL | Orf1b poly gene, E | Internal Control | •nasopharyngeal | 300uL | 1 hr | Yes | Yes
Rapid | Mesa Biotech Inc. | Accula SARS-CoV-2 Test | All in one system | 1 test | Included | •Accula Dock •Silaris Dock | 200 cp/rxn | N | Internal control | •throat & •nasal combined | Swab placed directly in pre-aliquotted buffer (5 mL) | 30 min | NO | NO
Rapid | Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19 kit | All in one system | 1 test | Included | ID NOW Instrument | 125 GE/mL | RdRp | Internal control | •nasopharyngeal •nasal •throat | 200uL | 13 min or less | NO | NO
Rapid | Visby Medical, Inc. | Visby Medical COVID-19 Test | All in one system | 1 test | Included | Visby Medical COVID-19 Test Cartridge | 1,112 genomic copies/mL | N | ? | •nasopharyngeal •nasal •mid-turbinate | 650uL | 30 min | Yes | Yes
Traditional PCR | CDC | CDC 2019-nCoV Real-time RT-PCR Diagnostic Panel | •Qiagen, •Roche, •Easymag | 21 - 29 specimens/run | •Thermofisher TaqPath •Quantabio qScript XLT One-Step RT-qPCR ToughMix •Quantabio UltraPlex 1-Step ToughMix (4X) •Promega GoTaq® Probe 1- Step RT-qPCR System | ABI7500 Fast Dx | 1-3 cp/uL | N1, N2 | RNaseP | •nasopharyngeal •oropharyngeal •brochoalveolar lavage (BAL) •nasal aspirate •sputum | 20uL | 44 min | Yes | Yes
Traditional PCR | Perkin Elmer | PE New Coronavirus Nucleic Acid Detection Kit | •Nucleic Acid Extraction Kit (KN0212); •Automatic extraction instrument Pre-NAT II with PerkinElmer chemagic™ Viral DNA/ RNA 300 Kit H96 (#CMG-1033-S) and the chemagic™ 360 instrument | 48 tests/kit | Included: nCoV enzyme mix TaqMan | ABI TM 7500 | 9.3 cp/mL Pre-NAT II 7.142 cp/mL Chemagic | N, ORF1ab | MS2 phage | •nasopharyngeal •oropharyngeal | 60uL | 1.6 hrs | Yes | Yes
Traditional PCR | Thermo Fisher Scientific Inc. | TaqPath COVID Combo kit | ThermoFisher KingFisher™ Flex | 93 specimens/run | Included | •ABI7500 Fast Dx •QuantStudioDx | 500 cp/mL | ORF1ab, N, S | MS2 phage | •nasopharyngeal •nasopharyngeal aspirate •bronchoalveolar lavage (BAL) •oropharyngeal •nasal •mid-turbinate | 400uL | <3 hr | Yes | Yes
Traditional PCR | Quidel Corporation | Lyra SARS-CoV-2 assay | •bioMerieux NucliSENS® easyMAG® system •EMAG® system | 93 specimens/run | Included | •Applied Biosystems 7500 Fast Dx, •Applied Biosystems 7500 Standard, •Roche 93 LightCycler 480 •Qiagen Rotor-Gene Q •Bio-Rad CFX96 Touch •Thermofisher QuantStudio 7 Pro | 8.00E-01 cp/uL | pp1ab | Process control | •nasopharyngeal •oropharyngeal •nasal | 180uL | <3 hr | Yes | Yes
DNA hybridization and electrochemical detection | GenMark Diagnostic, Inc. | ePlex SARS-CoV-2 Test | All in one system | 96 tests/ 8 hr | Included: Single-use cartridges | GenMark ePlex instrument | 1 X 10^5 cp/mL | not stated | Internal control | •nasopharyngeal | 200μL | <2 hr | Yes | Yes
Traditional PCR | Primerdesign Ltd. | Primerdesign Ltd COVID-19 genesig Real-time PCR assay | •GXT DNA/RNA Extraction kit (GenoXtract®, Bruker-HAIN Lifescience GmbH) •QIAamp Viral RNA Mini kit | 96 well | Included: OasigTM OneStep 2X RT-qPCR Master Mix | •Applied Biosystems® 7500 •Bio-Rad CFX ConnectTM •Roche® LightCycler 480 II | 0.33 cp/μl | ORF1ab | Internal Control | •oropharyngeal •nasal | 700μL | (1.5 - 3 hr) | Yes | Yes
Traditional PCR | BGI Genomics Co. Ltd | Real-time Fluorescent RT-PCR Kit for Detecting SARS-2019-nCoV | QIAamp Virus RNA Mini Kit (#52904 or 52906) | 96 well | Included | •ABI7500 Fast Dx •QuantStudioDx | 100 - 150 cp/mL | ORF1ab | human Beta-actin | •nasopharyngeal •throat •bronchoalveolar lavage (BAL) •nasal •mid-turbinate nasal | 100 - 140uL | 3.5 hr | Yes | Yes
Traditional PCR - Bead-based detection | Luminex Moleular Diagnostics, Inc. | NxTAG CoV Extended Panel Assay | •bioMérieux®NucliSENS® easyMAG® •EMAG® System | 1 - 96 tests | Included | •ABI 9700 thermal cycler (or other thermalcycler without adjustable lids) •Luminex® instrument (MAGPIX®) including xPONENT® Software | 5.00E+03 GE/mL | ORF1ab, N, E | Internal Control | •nasopharyngeal | 200μL | 3.5 hr | Yes | Yes
Traditional PCR | Co-Diagnostics, Inc. | Logix Smart™ COVID-19 Detection Kit (CE-IVD) | QIAamp RNA Viral Mini Kit | 96 well | Included | CoDx Box, Bio Molecular Systems | 4,290 cp/mL | RdRp | RNaseP | •nasopharyngeal •oropharyngeal •bronchoalveolar lavage •sputum •tracheal aspirate | 140 μl | 63-90 min + extraction | Yes | Yes
Rapid | Luminex Corporation | ARIES SARS-CoV-2 Assay | All in one system | 6 or 12 cassettes | Included | Luminex® 6-unit and 12-unit ARIES® Systems | 7.5E+04 GCE/mL | ORF1ab, N | RNase P | •nasopharyngeal | 200 μL | 2 hr | Yes | Yes
Traditional PCR | ScienCell Research Laboratories | ScienCell SARS-CoV-2 Coronavirus Real-time RT-PCR (RT-qPCR) Detection Kit | QIAamp® DSP Viral RNA Mini kit (Qiagen; #61904) | 28 tests/plate | One-Step TaqProbe RT-qPCR Master Mix (ScienCell; catalog #MB802) | Roche LightCycler® 96 | 10^0.5 cp/μL | N1, N2 (CDC P/P) | RPP30 gene | •nasopharyngeal •nasal •oropharyngeal •bronchoalveolar lavage | 140 μL | 3 hr | Yes | Yes
RT-Digital PCR | Gnomegen LLC | Gnomegen COVID-19 RT-Digital PCR Detection Kit | QIAamp® DSP Viral RNA Mini Kit | 24 samples | SuperScript™ II Reverse Transcriptase | QuantStudio™ 3D Digital PCR System | 8 GCE/rxn | N1, N2 | RNase P | •nasopharyngeal •oropharyngeal •nasal | 140 uL | 2 hr + Extraction | Yes | Yes
Traditional PCR | InBios International, Inc | Smart Detect SARS-CoV-2 rRT-PCR Kit | QIAamp Viral RNA Mini Kit (QIAGEN, #52904 or 52906) | 96 well | TaqPath™ 1-Step RT-qPCR Master Mix | •Applied Biosystems® 7500 •Bio-Rad CFX96 Touch | 12.5 GE/rxn or 1.1E+03 GE/mL | ORF1ab, N, E | RNase P | •nasopharyngeal •anterior nasal •mid-turbinate nasal | 140 uL | 45 min + Extraction | Yes | Yes
Automated medium throughput | Becton, Dickinson & Company | BD SARS-CoV-2Reagents for BD MAX System | BD MAX™ ExK™ TNA-3 kit | 24 samples | BD MAX TNA MMK master mix | BD MAX | 40 GE/mL | N1, N2 | RNase P | •nasopharyngeal •nasal •mid-turbinate nasal •oropharyngeal | 750 μL | Not stated | Yes | Yes
Traditional PCR | DiaCarta, Inc | QuantiVirus SARS-CoV-2 Test kit | Thermo Fisher PureLink™ viral RNA/DNA mini kit (#122800500) | 21 samples/96 well | Included | •Applied Biosystems™ QuantStudio 5 •Applied Biosystems™ 7500 Fast Dx | •200 cp/mL (Quantstudio) •100 cp/mL (ABI 7500) | N, Orf1ab, E | RNase P | •nasopharyngeal •oropharyngeal •nasal •sputum | 200 uL | 45 min + Extraction | Yes | Yes
Isothermal amplification | Atila BioSystems, Inc. | iAMP COVID-19 Detection Kit | Atila COVID-19 Sample Buffer | 96 well | Included | CFX96 | 4 cp/μL | N, ORF1ab | Gapdh | •nasopharyngeal •oropharyngeal •nasal | 350 uL | ~1.5 hr | Yes | No
Traditional PCR | Maccura Biotechnology (USA) LLC | SARS-CoV-2 Fluorescent PCR Kit | •Maccura Nucleic Acid Extraction Kit, Manual Version #GN7102903 ▪Maccura Nucleic Acid Extraction Kit, Fast Version #GN7101909 | extraction lower throughput, 96 well PCR | Included | Applied Biosystems™ 7500 | 1.0x103 cp/mL | ORF1ab, N, E | MS2 based pseudo-virus | •nasopharyngeal •nasal •mid-turbinate nasal •oropharyngeal | 200 uL | ~ 3 hr | Yes | Yes
Traditional PCR | GenoSensor, LLC | GS™ COVID-19 RT-PCR KIT | QIAamp DSP Viral RNA Mini Kit | 96 or 384 wells | Included | Applied Biosystems™ 7500 Fast Dx | 1 cp/μL | OFR1ab, E, N | GUSB internal extraction control | •nasopharyngeal •oropharyngeal •mid-turbinate nasal | 140 uL | ~ 3 hr | Yes | Yes
Traditional PCR | Fosun Pharma USA Inc. | Fosun COVID-19 RT-PCR Detection Kit | QIAamp® Viral RNA Mini Kit | 96 well | Included | Applied Biosystems® 7500 | 300 cp/mL | OFR1ab, E, N | Internal Reference A | •anterior nasal •mid-turbinate nasal •nasopharyngeal •oropharyngeal •sputum •lower respiratory tract aspirates •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | 140 uL | ~ 3 hr | Yes | Yes
Traditional PCR | OSANG Healthcare | GeneFinder COVID-19 Plus RealAmp Kit | •QIAamp® Viral RNA Mini Kit •Roche MagNA Pure 96 DNA and Viral NA Small Volume Kit | 96 well | Included | •Applied Biosystems® 7500 •ABI 7500 Fast •CFX96 | 0.5 cp/μL | RdRp, E, N | RNAse P | •nasopharyngeal •nasal •mid-turbinate nasal •oropharyngeal •sputum •BAL | 140 uL or 250 uL | ~ 3 hr | Yes | Yes
Traditional PCR | Trax Management Services Inc | PhoenixDx 2019-CoV | RTA Viral RNA Extraction Kit (RTA Laboratories, #09010100) | 96 well | Included | BioRad CFX-96 IVD marked instrument | 100 cp/mL | RdRp, E | RNAse P | •nasal •nasopharyngeal •oropharyngeal •BAL | unknown | estimated ~3 hr | Yes | Yes
Traditional PCR | Seegene, Inc | Allplex 2019-nCoV Assay | •Microlab STARlet IVD (# 173000-075, Hamilton Co.) •Seegene STARlet (#65415-03, Seegene Inc.) •STARMag 96 X 4 Universal Cartridge Kit(#744300.4.UC384, Seegene Inc.) | 96 well | Included | •CFX96TM IVD (Bio-Rad) •CFX96 TouchTM (Bio-Rad) | 1250 cp/mL (CFX96) 4167 cp/mL (CFX96 Touch) | RdRp, E, N | MS2 phage | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate •sputum | 300 uL | ~3 hr | Yes | Yes
Traditional PCR | altona Diagnostics GmbH | RealStar SARS-CoV02 RT-PCR Kits U.S. | • AltoStar® Automation System AM16 (altona Diagnostics, Cat. No. AM16) • AltoStar® Purification Kit 1.5 (altona Diagnostics, Cat. No. PK15-06) | 96 well | Included | •CFX96TM Touch (Bio-Rad) •CFX96TM Touch Deep Well (Bio-Rad) | 1.00E-01 PFU/mL | E, S | AltoStar® Internal Control 1.5 | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate | 500 μL | ~3 hr | Yes | Yes
Traditional PCR | SD Biosensor, Inc. | STANDARD M nCoV Real-Time Detection Kit | QIAamp® Viral RNA Mini Kit, Qiagen, Cat.no. 52904 | 96 well | Included | •LightCycler® 480 (Roche) ▪ CFX96TM Dx (Bio-Rad) ▪ Applied Biosystems 7500 (Thermo Fisher Scientific) | 0.25 cp/μL | ORF1ab (RdRp), E | Internal Control | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •sputum | 200 uL | ~3 hr | Yes | Yes
Traditional PCR | SEASUN BIOMATERIALS | U-TOP COVID-19 Detection Kit | QIAamp DSP virus kit (Qiagen, Cat. No 60704) | 96 well |  | •CFX 96 (Bio-Rad) •Applied Biosystems 7500 | 10 cp/rxn (1 copy/μL) | ORF1ab, N | RNase P | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •sputum | 300 uL | ~3 hr | Yes | Yes
Automated medium throughput | Rheonix, Inc. | Rheonix COVID-19 MDx Assay | All in one system | 24 samples (4 per Rheonix CARD® cartridge X 6 CARDs per instrument) | Included: target gene is amplified in the presence of biotin-tagged primers and the resulting amplicons denatured and flowed over the low-density array of capture probes contained within the CARD cartridge | Rheonix Encompass MDx Workstation | 625 GE/mL | N1 | RNase P | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) | 200 uL | ? | Yes | Rheonix 4X Sample Buffer
Traditional PCR | LabGenomics Co., Ltd. | LabGun COVID-19 RT-PCR Kit | QIAamp Viral RNA Mini kit (QIAGEN, Cat. No. 52904) | 96 well | Included | •Applied Biosystems™ 7500 •Bio-Rad CFX96™ | 20 GCE/μL | RdRp, E | MS2 | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •sputum | 140 uL | ~3.5 hr
Rapid | BioFire Diagnostics, LLC | BioFire Respiratory Panel 2.1 (RP2.1) | All in one system |  | Included | •BioFire® FilmArray® 2.0 •BioFire® FilmArray® Torch Systems |  | S, M | Internal control | •nasopharyngeal | 300 μL |  | Yes | Yes
Traditional PCR | Sansure BioTech Inc. | Novel Coronavirus (2019-nCoV) Nucleic Acid Diagnostic Kit (PCR-Fluorescence Probing) | •Centrifugation & Lysis •QIAamp Viral RNA Mini Kit (50, Catalogue No. 52904) | 96 well | 2019-nCoV-PCR master mix (2019-nCoV-PCR Mix + 2019-nCoV-PCR-Enzyme Mix) | ABI 7500 | 200 cp/mL | ORF1ab, N | RNase P | •nasopharyngeal •nasal •mid-turbinate nasal •oropharyngeal | 200 μL 140 μL (Qiagen) | ~3.5 hr | Yes | Yes
Digital Droplet PCR | Bio-Rad Laboratories, Inc | Bio-Rad SARS-CoV-2 ddPCR Test | •ThermoFisher MagMAX Viral/Pathogen Nucleic Acid Isolation Kit •QIAamp Viral Mini Kit | 96 well | Bio-Rad One-Step RT-ddPCR Advanced Kit for Probes | •QX200 Droplet Reader, IVD •QXDx Droplet Reader •QXDx Automated Droplet Generator •C1000 Touch Thermal Cycler with 96–Deep Well Reaction Module | 625 cp/mL | N1, N2 (CDC P/P) | RNase P | •nasopharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate | 100μl (TF) 140 μL (Qiagen) | 6 hr | Yes | Yes
Traditional PCR | Fast Track Diagnostics Luxembourg S.á.r.l. (a Siemens Healthineers Company) | FTD SARS-CoV-2 | NucliSENS® easyMAG® (bioMérieux) | 96 well | Included | Applied Biosystems® 7500 | 0.0023 TCID50/mL | N, ORF1ab | equine arteritis virus (EAV) IC | •anterior nasal •nasopharyngeal •oropharyngeal •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | 200 uL | ~3 hr | Yes | Yes
Traditional PCR | OPTI Medical Systems, Inc. | OPTI SARS-CoV-2 RT PCR Test | •RealPCR DNA/RNA Magnetic Bead Kit (IDEXX, Part#99-56102/ 99-56106) for Thermo Scientific™ KingFisher™ Flex; •NucleoMag VET Magnetic Extraction Kit (Macherey Nagel, Part #744200.4) for Thermo 7 OPTI SARS-CoV-2 Test Scientific™ KingFisher™ Duo Prime •OPTI DNA/RNA Magnetic Bead Kit (OPTI Medical Systems 99-58015) for Thermo Scientific™ KingFisher™ Flex or Duo Prime | 96 well | Included | •Applied Biosystems® 7500 FAST •Applied Biosystems® QuantStudio 5 •Agilent Mx3005P™ •Bio Molecular Systems Mic qPCR •Roche LightCycler® 480 | 0.9 cp/ µL | N1 | RNase P | •nasal •nasopharyngeal •oropharyngeal •sputum •lower respiratory tract aspirates •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | 200uL | ~3 hr | yes | yes
LAMP & CRISPR | Sherlock BioSciences, Inc. | Sherlock CRISPR SARS-CoV-2 Kit | •PureLink™ Viral RNA/DNA Mini Kit (Cat. 12280050 | 50 samples | Included | thermocycler/heating block | 6.75 cp/uL | Orfab1, N | RNase P | •nasal •nasopharyngeal •oropharyngeal •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | 200 uL | 1 hr | Yes | Yes
Traditional PCR | BioMérieux SA | SARS-COV-2 R-GENE | •EMAG® (bioMérieux) •NucliSENS easyMAG (bioMérieux), •QIASymphony SP (QIAgen) •MagNA Pure 96 (Roche) | 120 for PCR1; 30 for PCR2 |  | •Applied Biosystems 7500 Fast or 7500 Fast Dx •QuantStudio 5 Dx • LightCycler 480 (System II) (Roche) • CFX96 (Bio-Rad) •Rotor‑Gene Q (Qiagen) | 0.43 TCID 50/mL, | N, RdRp, E | HPRT1 gene | • mid-turbinate nasal •nasal •nasopharyngeal •anterior nasal •oropharyngeal •sputum •lower respiratory tract aspirates •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | 200uL easyMAG and QIAsymphony SP eMag; 250 uL MagNA Pure 96 | ~3 hr | Yes | Yes
Traditional PCR | Zymo Research Corporation | Quick SARS-CoV-2rRT-PCR Kit | •Quick-DNA/RNA Viral MagBead extraction kit on the automated KingFisher™ Flex Purification System or with a manual procedure. | 96 well | Included | Bio-Rad CFX96 Touch | 250 GE/ml (15 GE/rxn). | N | RNase P | •tracheal aspirates •mid-turbinate •nasal •nasopharyngeal •anterior nasal •oropharyngeal •sputum •lower respiratory tract aspirates •bronchoalveolar lavage •nasopharyngeal wash/aspirate •nasal aspirate | Unknown |  | Yes | Yes
Traditional PCR | Gnomegen LLC | Gnomegen COVID-19-RT-qPCR Detection Kit | Qiagen QIAamp® DSP Viral RNA Mini Kit | 96 well | Not Included | Applied Biosystems 7500 Fast Dx | 10 cp/rxn (1 cp/μL) | N | RNase P | •nasopharyngeal •oropharyngeal | 140uL | ~3 hr | Yes | Yes
Traditional PCR | 1drop Inc. | 1copy COVID-19 qPCR Multi Kit | QIAamp Viral RNA Mini Kit (QIAGEN, #52904) | 48 Samples | Included | •Light Cycler 480 (Roche) •Qiagen Rotor-Gene Q 5plex HRM •Applied Biosystems Quantstudio5 (Thermo Fisher Scientific) •Applied Biosystems 7500 •CFX96™ (BIO-RAD) | 200 cp/mL | E, RdRp | GAPDH | •mid-turbinate •nasopharyngeal •anterior nasal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirate | 140 uL | ~3 hr | Yes | Yes
Automated high throughput | Abbott Molecular Inc. | Alinity m SARS-CoV-2 assay | All in One System | Unknown | Not Included | Alinity m System | 100 cp/mL | N | RNase P | •nasal •nasopharyngeal •oropharyngeal •bronchoalveolar lavage (BAL) | Unknown | ? | Yes | Yes
Traditional PCR | Applied DNA Sciences, Inc. | Linea COVID-19 Assay Kit | •Invitrogen TRIzol RNA Extraction Kit (Cat. No. 15596026) • Qiagen GmbH QIAamp Viral RNA Mini Kit (Cat. No. 52906) | 96 well | Included | QuantStudioTM Dx | 1.25 cp/µL | S1, S2 | RNase P | •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirates •nasal •mid-turbinate nasal | Unknown | ~3 hr | Yes | Yes
Automated high throughput | Hologic, Inc. | Aptima® SARS-CoV-2 Assay (Panther® System) | All in one system | Aptima: 500 tests/8 hr; Panther Fusion: 335 test/8 hr | Included | Panther® and Panther Fusion® system | 0.01 TCID50/mL | Orf1ab | Aptima SARS-CoV-2 Internal Control | •nasopharyngeal •nasal •mid-turbinate •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirates | 500 uL | 8 hr | Yes | Yes
Traditional PCR | GeneMatrix, Inc. | NeoPlex COVID-19 Detection Kit | QIAamp DSP Viral RNA Mini Kit (QIAGEN, Cat No.61904) | 96 well | Included | Applied Biosystems™ 7500 Fast Dx | 50 cp/rxn | N, RdRp | Negative Extraction Control | •mid-turbinate •nasal •sputum •tracheal aspirates •bronchoalveolar lavage (BAL) •nasopharyngeal •oropharyngeal | 200 uL | ~3 hr | Yes | Yes
Traditional PCR | Quidel Corporation | Lyra Direct SARS-CoV-2 Assay | Dry heating block, capable of heating 1.5 mL tubes at 95°C±1° for 10 minutes | 96 well | Included | •Applied Biosystems 7500 Fast Dx •Applied Biosystems 7500 Standard •Roche LightCycler 480 •Roche Cobas z480 •Qiagen Rotor-Gene Q •Bio-Rad CFX96 Touch •Thermofisher QuantStudio 7 Pro | 800 cp/mL | Orf1ab | Process Control | •nasopharyngeal •oropharyngeal | Swab in 400-µL process buffer | ~3 hr | Yes | Yes
Isothermal Amplification | Seasun Biomaterials, Inc. | AQ-TOP COVID-19 Rapid Detection Kit | QIAamp DSP virus kit (Qiagen, Cat # 60704) | 96 well | Included | •CFX 96 (Bio-Rad) •Applied Biosystems 7500 | 7 cp/ µL | ORF1ab | RNase P | •oropharyngeal •nasopharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) •sputum | 300 uL |  | Yes | Yes
Traditional PCR | SolGent Co., Ltd | DiaPlexQ Novel Coronavirus (2019-nCoV) Detection Kit | •QIAamp Viral RNA Mini Kit (QIAGEN, catalog # 52904 or 52906) •MAgNa Pure 96 (Roche, 576 Extraction (06 543 588 001) | 96 well | Included | •Applied Biosystems™ 7500 •Applied Biosystems™ 7500 Fast •Bio-Rad CFX96™ | 200 cp/mL | ORF1a, PCRC, N | External Positive Control | •oropharyngeal •nasopharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) •sputum | 140 uL | ~3 hr | Yes | Yes
Traditional PCR | BioCore Co., Ltd. | BioCore 2019-nCoV Real Time PCR Kit | QIAamp DSP Viral RNA Mini Kit (Qiagen; catalog #61904) | 96 well | Included | •CFX96 Dx System (Bio-Rad) •Applied Biosystems 7500 •SLAN-96P | 500 cp/mL | N, RdRp | β globin gene, RNase P | •oropharyngeal •nasopharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) •sputum •nasal •tracheal aspirates | 200 uL | 2 hr + extraction | Yes | Yes
Traditional PCR | dba SpectronRX | Hymon SARS-CoV-2 Test Kit | high-efficiency enzyme processing technology using LY Buffer Solution (Tris) and PN Buffer Solution (Lysozyme) | 96 well | Included | ABI 7500 | 5 cp/rxn | N, E | ACTB gene | •nasopharyngeal •oropharyngeal •mid-turbinate •nasal •bronchioalveolar lavage (BAL) | 45 uL | ~3 hr | Yes | Yes
Traditional PCR | Genetron Health (Beijing) Co., Ltd. | Genetron SARS-CoV-2 RNA Test | QIAamp Viral RNA Mini Kit | 96 well | Included | Applied Biosystems 7500 | 1000 cp/mL | Orf1ab, N | RNase P | •oropharyngeal •nasopharyngeal •anterior nasal •mid-turbinate nasal | 140 uL | ~3 hr | Yes | Yes
Traditional PCR | Euroimmun US, Inc. | EURORealTime SARS-Cov-2 | •Qiagen #52904 (50) or # 52906(250) QIAmp Viral RNA Mini Kit •Chemagen #CMG-2015 Prepito Viral DNA-RNA200 Kit | 96 well | Included | •ABI 7500 Fast (Applied Biosystems) •LightCycler® 480 II (Roche) •CFX 96 Touch (Bio-Rad) | 150 cp/mL | N, Orf1ab | RNA internal control | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •bronchioalveolar lavage (BAL) | 140 uL QIAamp; 300 uL Chemagen | ~3 hr | Yes | Yes
Autmated high-throughput next-generation sequencing (NGS) | Illumina, Inc. | Illumina COVIDSeq Test | QIAamp Viral RNA Mini Kit | 3072 results/12 hours |  | •Illumina NovaSeq part # 20043675 | 1000 cp/mL | 90 SARS-CoV-2 virus targets | 11 human mRNA targets | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirates •nasal aspirates •bronchoalveolar lavage (BAL) | ? | ? | Yes | Yes
Traditional PCR | ChromaCode Inc | HDPCR SARS-CoV-2 Assay | •Roche MagNA Pure 24 •Thermo Scientific™ KingFisher™ Flex | 88 samples/96 well | Included | •Applied Biosystems™ QuantStudio™ 7 Fast •Applied Biosystems™ 7500 Fast •Applied Biosystems™ QuantStudio™ 12K Flex 96-well Fast | 1000 cp/mL | N1, N2 | RNase P | •nasopharyngeal •oropharyngeal •anterior nasal •midturbinate nasal •nasal aspirate •nasal wash •bronchoalveolar lavage (BAL) |  | ~2 hr | Yes | Yes
Traditional PCR | TBG Biotechnology Corp. | ExProbe SARS-CoV-2 Testing Kit | Qiagen Viral RNA MiniKit (#52904) | 96 well | Included | •ABI 7500 | 10 cp/uL | N, E, RdRp | RNase P | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal aspirate/wash •nasal aspirate •bronchoalveolar lavage (BAL) | 100 uL | not stated | Yes | Yes
Rapid - isothermal amplification | Cue Health Inc. | Cue COVID-19 Test | none | 1 sample | none | none | 20 GCE/sample | N gene | RNase P | •nasal | Cue Swab Sample Wand | 25 min | No | No
Traditional PCR | RTA Laboratories Biological Products Pharmaceutical and Machinery Industry | Diagnovital SARS-CoV-2 Real-Time PCR Kit | RTA Viral RNA Isolation Kit (RTA Laboratories, #09010100) | 96 well | Included | •BIO-RAD CFX96-IVD (Bio-Rad) •QuantStudio™ 5 Dx, (Applied Biosystems) | 38 cp/mL | E, RdRP | RNase P | •anterior nasal •mid-turbinate •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirates •nasal aspirates •Bronchoalveolar lavage (BAL) | 150 uL |  | Yes | Yes
Automated high throughput | Applied BioCode, Inc. | BioCode SARS-CoV-2 Assay | •NucliSENS® easyMAG® •MagNA Pure 96 automated systems | 188 sample/8 hr | Included | BioCode® MDx-3000 | 1.72 x10-2 TCID50/mL. | N, a & b | MS2 | •nasopharyngeal •oropharyngeal •nasal •bronchoalveolar lavage (BAL) | 200 uL | 8 hr | Yes | Yes
Traditional PCR | Jiangsu Bioperfectus Technologies Co., Ltd. | COVID-19 Coronavirus Real Time PCR Kit | •Bioperfectus Technologies Viral nucleic acid isolation kit •Qiagen QIAamp Viral RNA Mini Kit | 96 well | Included | •Applied Biosystems 7500 •QuantStudio™ 5 •Roche LightCycler® 480 | 350 cp/mL | Orfab, N | RNase P | •nasopharyngeal •oropharyngeal •nasopharyngeal •sputum •respiratory extract/bronchial perfusate •bronchoalveolar lavage (BAL) | 5 uL | 72 min | Yes | Yes
Traditional PCR | 3B Blackbio Biotech India Ltd., a subsidiary of Kilpest India Ltd. | TRUPCR SARS-CoV-2 Kit | TRUPCR® Viral RNA Extraction Kit (3B213V/3B214V) | ? | Included | •ABI QuantStudio 3 •Qiagen Rotor-Gene Q 5Plex HRM | 10 cp/µL | E, RdRP, N | RNase P | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal aspirate/wash •nasal aspirates •bronchoalveolar lavage (BAL) | 200 uL |  | Yes | Yes
Traditional PCR | Gencurix, Inc. | GenePro SARS-CoV-2 Test | •QIAamp® DSP Viral RNA Mini Kit Qiagen 61904 •QIAamp® Viral RNA Mini Kit Qiagen 52904 and 52906. •MagMAX Viral/Pathogen Nucleic Acid Isolation Kit •KingFisher™ Flex System | 384 samples | Included | •QuantStudio™ Dx •CFX96™ Dx | 5550 GE/mL | Orf1ab, E | human RPP25 | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) | 140 uL Qiaamp; 200 uL MagMAX |  | Yes | Yes
Traditional PCR w/ with πCode technology | PlexBio Co., Ltd. | IntelliPlex SARS-CoV-2 Detection Kit | QIAamp Viral RNA Mini Kit | 96 well | SARS-CoV-2 KIT RT-PCR Enzyme Mix AND SARS-CoV-2 KIT πCode MicroDisc INCLUDED | •Thermocycler: MiniAmp Thermal cycler (ThermoFisher) •IntelliPlexTM 1000 πCode Processor (PlexBio) •PlexBio 100 Fluorescent Analyzer | 140 copies/mL | RdRP, E, and N | MS2 | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirates •bronchoalveolar lavage (BAL) | 140 uL | 4.5 hr | Yes | Yes
digital droplet PCR | PreciGenome LLC | FastPlex Triplex SARS-CoV-2 detection kit (RT-Digital PCR) | QIAamp Viral RNA Mini Kit #52904 or #52906 | 4 rxns/cartridge &4 cartridges/run | Included | •DropX-2000 Sample Prep Station (SG4- 2000) •DropX-2000 Digital PCR System •Drop-X 2000 DScanner (DS4-2000) | 571.4 copies/mL | ORF1ab, N | RNase P | •oropharyngeal | 140 uL | 6 hr | Yes | Yes
Traditional PCR w/ peptide nucleic acids | TNS Co., Ltd (Bio TNS) | COVID-19 RT-PCR Peptide Nucleic Acid (PNA) kit | Qiagen RNeasy Mini kit (74104 or 74106) | 96 well | Included | •CFX 96 Real-time PCR detection system (Bio-rad) •Applied Biosystems 7500/7500 Fast | 3.715 copies/μℓ | RdRP, N | HuPO | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •bronchoalveolar lavage (BAL) •nasopharyngeal wash/aspirates •nasal aspirates | 200 uL | 3.5 hr | Yes | Yes
Traditional PCR, SARS-CoV-2, influenza A, and/or influenza B | Centers for Disease Control and Prevention (CDC) | Influenza SARS-CoV-2 (Flu SC2) Multiplex Assay | •QIAamp Viral RNA Mini Kit •QIAmp DSP Viral RNA Mini Kit •QIAGEN EZ1 Advanced XL •Roche MagNA Pure 96 •QIAGEN QIAcube | 96 well | Influenza SARS-CoV-2 Multiplex Assay Kit (Included) AND NOT INCLUDED: •Applied Biosystems TaqPathTM 1-Step Multiplex Master Mix •Quantabio UltraPlexTM 1-Step ToughMix® (4X) | Applied Biosystems 7500 Fast Dx | 1.01E-02 ID50/rxn | SAR-2 (N); Flu (M1) | RNase P | •nasopharyngeal •oropharyngeal •nasal •sputum •lower respiratory tract aspirates •bronchoalveolar lavage (BAL) •nasopharyngeal wash/aspirate •nasal aspirate | 100 - 140uL | 3.5 hr | Yes | Yes
Traditional PCR | Access Bio, Inc. | CareStart COVID-19 MDx RT-PCR | QIAamp® Viral RNA Mini Kit | 96 well | Included | •Applied BiosystemsTM 7500 •Applied BiosystemsTM 7500 Fast •CFX96 TouchTM | 10 copies/reaction | RdRP, N | MS2 | •nasopharyngeal •oropharyngeal •nasal •nasopharyngeal wash/aspirate •nasal aspirate •bronchoalveolar lavage (BAL) | 140 uL | 3 hr | Yes | Yes
Traditional PCR | Enzo Life Sciences, Inc. | AMPIPROBE SARS-CoV-2 Test System | •AMPIXTRACTTMSARS-CoV-2Extractionkit (Included), or •QIAGEN QIAsymphony® DSP Virus/Pathogen Midi Kit (#937055 •GENFLEXTM platform V1.0 (Hamilton Microlab Star (Hamilton, catalog number: 49000-60: GENFLEX STAR) | 96 well | Included | Applied Biosystems QuantStudio® 5 (QS5) | 280 copies/mL | N1, N2 | RNase P | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirate | 140 uL or 250 uL | 3 hr | Yes | Yes
Traditional PCR | BioSewoom, Inc. | Real-Q 2019-nCoV Detection Kit | •MagNA pure 96 •QIAGEN QIAamp MinElute Virus Spin Kit | 96 well | Included | •Applied Biosystems 7500 •Applied Biosystems 7500 fast •Applied Biosystems QuantStudio 5 •CFX96 •CFX96 DX | 6.25 copies/μl | RdRP, E | RNase P | •nasopharyngeal •nasopharyngeal aspirates •nasal mid-turbinate •nasal swab •oropharyngeal •sputum •tracheal aspirates •bronchoalveolar lavage (BAL) | 200 uL or 250 uL | 3.5 hr | Yes | Yes
Traditional PCR | Trax Management Services Inc. | PhoenixDx SARS-CoV-2 Multiplex | •RTA Viral Nucleic Acid Isolation Kit •Qiagen QIAamp MinElute Virus Spin kit •Roche High Pure Viral RNA Kit •Thermo Fisher MagMax •SphaeraMag DNA/RNA Isolation Kit | 96 well | Included | •Thermo Fisher QS1 •Qiagen Rotor-Gene Q •Applied Biosystems ABI 7500 Fast •DNA Technologie DTPrime5 •Analytik Jena qTower3G platforms | 50 cp/μl | ORF1ab, N | RNase P | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •bronchoalveolar lavage (BAL) | 140 uL or 250 uL | 3 hr | Yes | Yes
Traditional PCR | KogeneBiotech Co., Ltd. | PowerChek 2019-nCoV Real-time PCR Kit | QIAGEN QIAamp® DSP Viral RNA Mini Kit (#60704) | 96 well | Included | •Applied BiosystemsTM 7500 •Applied BiosystemsTM 7500 fast •CFX96TM | 4 copies/μL | RdRP, E | Internal Control | •anterior nasal •mid-turbinate nasal •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirates •bronchoalveolar lavage (BAL) •sputum | 140 uL | 3.5 hr | Yes | Yes
Traditional PCR | DiaCarta, Inc. | QuantiVirus SARS-CoV-2 Multiplex Test Kit | •Thermo Fisher PureLink viral RNA/DNA mini kit •MGIEasy Magnetic Beads Virus DBA/RNA Extraction Kit | 96 or 384 wells | Included | •Applied BiosystemsTM QuantStudio 5 •ABI 7500 Fast DX •Bio-Rad CXF 384 | 100 copies/mL | Orf1ab | RNase P | •nasal •nasopharyngeal •oropharyngeal •sputum | 200 μL | 3 hr | Yes | Yes
Traditional PCR | Jiangsu CoWin Biotech Co., Ltd. | Novel Coronavirus (SARS-CoV-2) Fast Nucleic Acid Detection Kit (PCR-Fluorescence Probing) | None? | 96 well | Included | ABI 7500 Real- Time PCR | 300 copies/mL | ORF1ab, N | β-actin | •oropharyngeal | dry swab in 500 μL | 3 hr | CoWin swabs included | Preservation buffer included
Traditional PCR | Xiamen Zeesan Biotech Co., Ltd. | SARS-CoV-2 Test Kit (Real-time PCR) | Xiamen Zeesan Biotech Co., Ltd Virus RNA Extraction Kit (#602101) | 8-tube Strips/ 48 tests/kit | Included | Applied BiosystemsTM QuantStudio 3 | 200 copies/mL | ORF1ab, N | Armored RNA for SUC2 | •nasopharyngeal •oropharyngeal •anterior nasal •mid-turbinate nasal •nasopharyngeal wash/aspirate •nasal aspirates •bronchoalveolar lavage (BAL) | 1 mL | ~3.5 hr | Yes | Yes
Traditional PCR | Vela Operations Singapore Pte Ltd | ViroKey SARS-CoV-2 RT-PCR Test | Sentosa® SX Virus Total Nucleic Acid Kit | 96 well | Included | •Applied Biosystems® 7500 Fast Dx •Sentosa® SA201 | 560 GE/mL | ORF1a, RdRp | No internal control; recommends including known positive sample in each run | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirate | 230 μL | ~3.5 hr | Yes | Yes
Rapid: Selective Temperature Amplification Reaction | LumiraDx UK Ltd. | LumiraDx SARS-CoV-2 RNA STAR | Automated: •Qiagen DSP Virus/Pathogen Kit on Qiagen QIAsymphony SP Manual: •MagMax Viral/Pathogen Nucleic Acid Isolation Kit •QIAamp Viral RNA Mini Kit | 96 well | qSTAR technology: Selective Temperature Amplification Reaction Master mix included | •Roche LightCycler 480 II •Applied Biosystems 7500 Fast Dx •Applied Biosystems QuantStudio 5 •Agilent AriaMx •Agilent Stratagene Mx3005P | 500 copies / mL | ORF1a | Internal control | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •bronchoalveolar lavage (BAL) | 140 uL or 250 uL | 12 min + extraction | Yes | VTM or Lysis buffer
Traditional PCR | Biomeme, Inc. | Biomeme SARS-CoV-2 Real-Time RT-PCR Test | Biomeme’s M1 Sample Prep Cartridge | 3-well strips or 96 well | Included | •SmartphoneApp •Biomeme FranklinTM mobile handheld qPCR thermocycler •Bio-Rad CFX96 or QuantStudio5 | 1.8 GE/uL | Orf1ab, S | MS2 | •nasopharyngeal •nasal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirate | 200μL | ~3 hr | Yes | Buffer
Traditional PCR | ZhuHai Sinochips Bioscience Co., Ltd. | COVID-19 Nucleic Acid RT-PCR Test Kit | •QIAamp® Viral RNA Mini Kit •KingFisherTM Flex Magnetic Particle Processor with 96 Deep- Well Head | 96 well | Included | •Applied BiosystemsTM ABI 7500 •Applied BiosystemsTM 7500 Fast Dx | 2.5 cp/mL | ORF1ab, N | β-actin | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •nasopharyngeal wash/aspirate •nasal aspirate specimens | 140 uL Qiaamp; 200 uL KingFisher | ~3 hr | Yes | Yes
Traditional PCR | Fluidigm Corporation | Advanta Dx SARS-CoV-2 RT-PCR Assay | heat pre-treatment | 192 tests in two 96-well plates | Included | •Applied Biosystems Veriti 96-Well Thermal Cycler •Biomark HD system •Juno system | 6.25 GE/μL | (CDC) N1, N2 | RNase P | •saliva | 24 μL | 2.5 hr | No | No
Isothermal amplification, CRISPR | Mammoth Biosciences, Inc. | SARS-CoV-2 DETECTR Reagent Kit | EZ1 Virus Mini Kit v2.0 (48) | 46 samples/96 well | Included | ABI 7500 Fast Dx Real-Time PCR system | 20 cp/μL | N Gene | RNase P | •nasopharyngeal •oropharyngeal •mid-turbinate •anterior nasal •nasopharyngeal wash /aspirate •nasal aspirate | 200 μL | 45 min + extraction | Yes | Yes
qualitative T2 magnetic resonance (T2MR) test | T2 Biosystems, Inc. | T2SARS-CoV-2 Panel | All in one system | 1 sample | Included: T2SARS-CoV-2 Reagent Tray (Reagent Tray) | T2Dx Instrument (T2Dx) | 2,000 GE/mL | Unknown | Internal Control | •nasal •mid-turbinate •nasopharyngeal •oropharyngeal •bronchoalveolar lavage (BAL) | 500 μL | ? | Yes | Yes

## Sheet5 (hidden)
Yes
No